QUESTIONNAIRE FOR ORDERING CONDUCTIVITY LIQUID ANALYZERS C-3101M, C-3101M.NP, C-3102, C-3122, C-3122.P, C-3122.P.I, C-3110, C-3130

Customer Information

| Full Name: | Position: |
| --- | --- |
| Company: |
| Address: |
| Tel.: | Fax: |
| E-mail: |
| Analyzer model (code number): |  | Qty, pcs.: |
| Liquid to be analyzed at the spot of measurement |
| Brief description, chemical make-up: |  |
| Range and units of measurement: |  |
| Range of temperatures, °С: average work temperature, °С: Т of reference, °С: Т of ambient medium, °С: |
| Max pressure, MPa: |  |
| Flow velocity (m/s) or flow rate (m3/h): |  |
| Ionizing radiation absorbed dose rate for version “АС”, Gy/s: | at the spot of installation: of sensor , of electronic block of PT |
| Safety class: |  |
| Primary transducer (PT) specifications: |
| Type and material of sensor: | contact | SS321L SS904L SS316 Titanium |
|  | inductive | PVDF polypropylene |
| Give max.details about the spot of istallation: pipeline (presence of reductions/ expansions, bends) or reservoir, availability and type of agitator, material. Availability of a sketch of the spot of istallation is welcomed (on a separate sheet). |  |
| Model of fixtures (see section «Fixtures»): |  |
| Distance from electronic block of PT to sensor and fixtures, m: |  |
| Distance between primary transducer and MD, m: |  |
| Construction of frame of PT electronic block : | steel 12Х18Н10Т («N») aluminum alloy («D») aluminum alloy, with indication window («I») |
| Measuring device (MD) specifications: |
| Type of frame: | panel wall mounted |
| Quantity of measurement channels: | one two |
| Output signals: analogue | (4...20) mA (0...5) mA (0...20) mA |
| or digital | digital interface RS-485 (Modbus RTU) |
| Output signals discrete (relay): | yes no |
| Indicator: | 7segments LED GREEN 7 segments LED RED LCD |
| Additionally: | explosion proofing verification hydraulic panel cabinet-type (see section «Cabinets for installation») |